## Sheet1
wind_farm_name | LAT | LON | area_sqkm | country | commissioning_year | installed_capacity_MW | turbine_producer | turbine_power_MW | turbine_model | foundation_type | water_depth_m | distance_from_shore_km | total_project_budget | turbine_costs | foundation_costs | array_cable_costs | export_cable_costs | offshore_substation_costs | offshore_installation_costs | OPEX_per_MWh | inflation_rate | capacity_factor | WACC | discount_rate | project_lifetime_years
Hornsea 1 | 53.883 | 1.922 | 407 | UK | 2020 | 1218 |  |  | Siemens Gamesa SWT-7.0-154 | Monopile | 20-40 | 120 | GBP 4.2 billion | null | null | null | null | null | null | null | null | null | null | null | 25
Hornsea 2 | 53.885 | 1.791 | 462 | UK | 2022 | 1386 |  |  | Siemens Gamesa SG 8.0-167 DD | Monopile | 30-40 | 89 | USD 3.64 billion | null | null | null | null | null | null | null | null | null | null | null | 25
Hornsea 3 | 53.067 | 0.463 | 696 | UK | 2027 | 2900 |  |  | Siemens Gamesa SG 14-236 DD | Monopile | 22-73 | 120 | USD 9.6 billion | null | null | null | null | null | null | null | null | null | null | null | 25
Dogger Bank A | 54.783 | 1.861 | 515 | UK | 2025 | 1200 |  |  | GE Haliade-X 13 MW | Monopile | 20-35 | 131 | GBP 3 billion | null | null | null | null | null | null | GBP 16.31/MWh | null | 0.55 | null | null | 25
Dogger Bank B | 54.984 | 1.654 | 599 | UK | 2026 | 1200 |  |  | GE Haliade-X 13 MW | Monopile | 20-35 | 131 | GBP 3 billion | null | null | null | null | null | null | null | null | 0.55 | null | null | 25
Dogger Bank C | 54.851 | 2.522 | 560 | UK | 2027 | 1200 |  |  | GE Haliade-X 14 MW | Monopile | 20-35 | 196 | GBP 3 billion | null | null | null | null | null | null | null | null | 0.55 | null | null | 25
East Anglia ONE | 52.234 | 2.488 | 300 | UK | 2020 | 714 |  |  | Siemens Gamesa SWT-7.0-154 | Jacket | 30-55 | 43 | GBP 2.5 billion | null | null | null | null | null | null | null | null | null | null | null | 25
East Anglia TWO | 52.244 | 2.186 | 218 | UK | 2030 | 960 |  |  | Siemens Gamesa SG 14-236 DD | null | 30-40 | 37.5 | GBP 3 billion | null | null | null | null | null | null | null | null | null | null | null | 25
East Anglia THREE | 52.771 | 3.037 | 305 | UK | 2026 | 1372 |  |  | Siemens Gamesa SG 14-236 DD | Monopile | 30-40 | 69 | GBP 4 billion | null | null | null | null | null | null | null | null | null | null | null | 25
East Anglia ONE North | 52.221 | 2.150 | 203 | UK | null | 800 |  |  | Siemens Gamesa SG 14-236 DD | null | 30-40 | 50 | null | null | null | null | null | null | null | null | null | null | null | null | 25
Walney 1 and 2 | 54.048 | -3.618 | 73 | UK | 2012 | 367 |  |  | Siemens SWT-3.6-107 / SWT-3.6-120 | Monopile | 19-23 | 14 | GBP 1 billion | null | null | null | null | null | null | null | null | null | null | null | 25
Walney Extension | 54.088 | -3.439 | 145 | UK | 2018 | 659 |  |  | MHI Vestas V164-8.0 / Siemens Gamesa SWT-7.0-154 | Monopile | 19-23 | 19 | GBP 2 billion | null | null | null | null | null | null | null | null | null | null | null | 25
London Array | 51.644 | 1.553 | 122 | UK | 2013 | 630 |  |  | Siemens SWT-3.6-120 | Monopile | 25 | 20 | EUR 2.2 billion | null | null | null | null | null | null | null | null | null | null | null | 25
Thanet | 51.433 | 1.417 | 35 | UK | 2010 | 300 |  |  | Vestas V90-3.0 MW | Monopile | 20-25 | 11 | GBP 780-900 million | null | null | null | null | null | null | null | null | null | null | null | 25
Beatrice | 58.105 | -3.093 | 131 | UK | 2019 | 588 |  |  | Siemens Gamesa SWT-7.0-154 | Jacket | 35-56 | 13 | GBP 2.5 billion | null | null | null | null | null | null | null | null | null | null | null | 25
Moray East | 58.100 | -2.800 | 295 | UK | 2022 | 950 |  |  | Vestas V164-9.5 MW | Tripod jacket | 50 | 22 | GBP 2.6 billion | null | null | null | null | null | null | null | null | null | null | null | 25
Moray West | 58.100 | -3.100 | 225 | UK | 2025 | 882 |  |  | Siemens Gamesa SG 14-222 DD | Monopile | 35-54 | 22.5 | GBP 2.5 billion | null | null | null | null | null | null | null | null | null | null | null | 25
Seagreen | 56.370 | -2.160 | 2850 | UK | 2023 | 1075 |  |  | Vestas V164-10.0 MW | Tripod jacket with suction bucket | 42-58 | 27 | GBP 3 billion | null | null | null | null | null | null | null | null | null | null | null | 25
Triton Knoll | 53.510 | 0.820 | 145 | UK | 2022 | 857 |  |  | MHI Vestas V164-9.5 MW | Monopile | 18-24 | 33 | GBP 2 billion | null | null | null | null | null | null | null | null | null | null | null | 25
Race Bank | 53.275 | 0.841 | 75 | UK | 2018 | 573 |  |  | Siemens SWT-6.0-154 | Monopile | 6-26 | 27 | GBP 1.6 billion | null | null | null | null | null | null | null | null | null | null | null | 25
Dudgeon | 53.250 | 1.383 | 55 | UK | 2017 | 402 |  |  | Siemens SWT-6.0-154 | Monopile | 18-25 | 32 | GBP 1.5 billion | null | null | null | null | null | null | null | null | null | null | null | 25
Sheringham Shoal | 53.130 | 1.150 | 35 | UK | 2012 | 317 |  |  | Siemens SWT-3.6-107 | Monopile | 16-22 | 17-23 | GBP 1 billion | null | null | null | null | null | null | null | null | null | null | null | 25
Greater Gabbard | 51.933 | 1.883 | 147 | UK | 2012 | 504 |  |  | Siemens SWT-3.6-107 | Monopile | 24-34 | 23 | GBP 1.5 billion | null | null | null | null | null | null | null | null | null | null | null | 25
Robin Rigg | 54.750 | -3.710 | 18 | UK | 2010 | 174 |  |  | Vestas V90-3.0 MW | Monopile | 5-18 | 9-11 | EUR 500 million | null | null | null | null | null | null | null | null | null | null | null | 25
Barrow | 53.983 | -3.283 | 10 | UK | 2006 | 90 |  |  | Vestas V90-3.0 MW | Monopile | 20 | 7 | GBP 100 million | null | null | null | null | null | null | null | null | null | null | null | 25
Burbo Bank | 53.483 | -3.183 | 10 | UK | 2007 | 90 |  |  | Siemens SWT-3.6-107 | Monopile | 6-13 | 6-7 | GBP 660 million | null | null | null | null | null | null | null | null | null | null | null | 25
Burbo Bank Extension | 53.483 | -3.183 | 40 | UK | 2017 | 258 |  |  | Vestas V164-8.0 MW | Monopile | null | 9 | GBP 1.32 billion | null | null | null | null | null | null | null | null | null | null | null | 25
West of Duddon Sands | 54.010 | -3.520 | 67 | UK | 2014 | 389 |  |  | Siemens SWT-3.6-120 | Monopile | 17-24 | 15 | GBP 1.6 billion | null | null | null | null | null | null | null | null | null | null | null | 25
Ormonde | 54.100 | -3.400 | 8.7 | UK | 2012 | 150 |  |  | REpower 5M | Jacket | 21 | 10 | EUR 552 million | null | null | null | null | null | null | null | null | null | null | null | 25
Lincs | 53.183 | 0.483 | 35 | UK | 2013 | 270 |  |  | Siemens SWT-3.6-120 | Monopile | 8-18 | 8 | GBP 1 billion | null | null | null | null | null | null | null | null | null | null | null | 25
Lynn and Inner Dowsing | 53.127 | 0.436 | 20 | UK | 2009 | 194 |  |  | Siemens SWT-3.6-107 | Monopile | 6.3-16 | 5.2 | EUR 349 million | null | null | null | null | null | null | null | null | null | null | null | 25
Kentish Flats | 51.460 | 1.090 | 10 | UK | 2005 | 90 |  |  | Vestas V90-3.0 MW | Monopile | 5-8 | 8.9-10 | GBP 105 million | null | null | null | null | null | null | null | null | null | null | null | 25
Kentish Flats Extension | 51.460 | 1.090 | 4.3 | UK | 2015 | 49.5 |  |  | Vestas V112-3.3 MW | Monopile | 5-8 | 10 | GBP 150 million | null | null | null | null | null | null | null | null | null | null | null | 25
Scroby Sands | 52.650 | 1.780 | 4 | UK | 2004 | 60 |  |  | Vestas V80-2.0 MW | Monopile | 13-20 | 2.5 | GBP 75.5 million | null | null | null | null | null | null | null | null | null | null | null | 25
North Hoyle | 53.433 | -3.400 | 10 | UK | 2003 | 60 |  |  | Vestas V80-2.0 MW | Monopile | 12 | 7.5 | GBP 80 million | null | null | null | null | null | null | null | null | null | null | null | 25
Rampion | 50.666 | -0.266 | 72 | UK | 2018 | 400 |  |  | Vestas V112-3.45 MW | Monopile | 19-40 | 13-25 | GBP 1.3 billion | null | null | null | null | null | null | null | null | null | null | null | 25
Humber Gateway | 53.64278987612652 | 0.29680230015394105 | 35 | UK | 2015 | 219 |  |  | Vestas V112-3.0 MW | Monopile | 15 | 8 | GBP 700 million | null | null | null | null | null | null | null | null | null | null | null | 25
Westermost Rough | 53.78104801813828 | 0.2148424662161718 | 35 | UK | 2015 | 210 |  |  | Siemens SWT-6.0-154 | Monopile | null | 8 | GBP 800 million | null | null | null | null | null | null | null | null | null | null | null | 25
Gunfleet Sands | 51.739444 | 1.174444 | 17.5 | UK | 2010 | 172 |  |  | Siemens SWT-3.6-107 / Siemens 6 MW | Monopile | 2-15 | 7 | GBP 305 million | null | null | null | null | null | null | null | null | null | null | null | 25
Teesside | 54.60234189553078 | -1.4295520401172217 | 11 | UK | 2014 | 62 |  |  | Siemens SWT-2.3-93 | Monopile | null | 1.5 | GBP 4 billion | null | null | null | null | null | null | null | null | null | null | null | 25
Blyth Offshore (Original) | 55.135833 | -1.490278 |  | UK | 2000 | 4 |  |  | Vestas V66-2.0 MW | Monopile | 10 | 2 | EUR 4.6 million | null | null | null | null | null | null | null | null | null | null | null | 19
Blyth Offshore Demonstrator | 55.1670 | -1.3644 |  | UK | 2018 | 41.5 |  |  | MHI Vestas V164-8.3 MW | Gravity base | 40 | 5 | USD 212.273 millon | null | null | null | null | null | null | null | null | null | null | null | 25
Aberdeen Bay (EOWDC) | 57.22257515746838 | -1.9728780880585897 | 7 | UK | 2018 | 93.2 |  |  | MHI Vestas V164-8.8 MW | Suction Bucket Jacket | 19-32 | 3 | GBP 300-335 million | null | null | null | null | null | null | null | null | null | null | null | 25
Neart na Gaoithe | 56.275 | -2.245 | 105 | UK | 2025 | 450 |  |  | Siemens Gamesa SG 8.0-167 DD | Jacket | 40-60 | 15.5 | GBP 1.8 billion | null | null | null | null | null | null | null | null | null | null | null | 25
Inch Cape | 56.5 | -2.17 | 150 | UK | 2027 | 1080 |  |  | Vestas V236-15.0 MW | Monopile / Jacket | 34-64 | 15 | GBP 3.5 billion | null | null | null | null | null | null | null | null | 0.60 | null | null | 25
Galloper | 51.86653342228734 | 1.9269606847383243 | 114 | UK | 2018 | 353 |  |  | Siemens SWT-6.0-154 | Monopile | 27-36 | 27 | GBP 1.5 billion | null | null | null | null | null | null | null | null | null | null | null | 25
Sofia | 54.9794 | 2.2301 | 593 | UK | 2027 | 1400 |  |  | Siemens Gamesa SG 14-222 DD | Monopile | 21-36 | 195 | EUR 3 billion | null | null | null | null | null | null | null | null | null | null | null | 25
Hywind Scotland | 57.49809316673302 | -1.6930264003753728 | 15 | UK | 2017 | 30 |  |  | Siemens SWT-6.0-154 | Floating spar buoy | 95-120 | 29 | GBP 264 million | null | null | null | null | null | null | null | null | 0.571 | null | null | 25
Kincardine | 57.0046 | -1.8596 | 110 | UK | 2021 | 50 |  |  | MHI Vestas V164-9.525 MW / Vestas V80-2.0 MW | Floating semi-submersible | 60-80 | 15 | GBP 350 million | null | null | null | null | null | null | null | null | null | null | null | 25
alpha ventus | 54.0112 | 6.6078 | 4 | Germany | 2010 | 60 |  |  | Senvion 5M / Adwen AD 5-116 | Jacket / Tripod | 30 | 45-60 | EUR 250 million | null | null | null | null | null | null | null | null | 0.42-0.55 | null | null | 15
EnBW Baltic 1 | 54.6139 | 12.6667 | 7 | Germany | 2011 | 48.3 |  |  | Siemens SWT-2.3-93 | Monopile | 16-19 | 16 | EUR 150 million | null | null | null | null | null | null | null | null | null | null | null | null
BARD Offshore 1 | 54.3583 | 5.975 | 60 | Germany | 2013 | 400 |  |  | BARD 5.0 | Tripile | 40 | 100 | EUR 2.9 billion | null | null | null | null | null | null | null | null | null | null | null | null
Meerwind Sued Ost | 54.38 | 7.68 | 42 | Germany | 2014 | 288 |  |  | Siemens SWT-3.6-120 | Monopile | 22-26 | 23 | EUR 1.2 billion | null | null | null | null | null | null | null | null | null | null | null | null
Nordsee Ost | 54.43 | 7.68 | 24 | Germany | 2015 | 295 |  |  | Senvion 6.2M126 | Jacket | 25 | 60 | EUR 1.2 billion | null | null | null | null | null | null | null | null | null | null | null | null
DanTysk | 55.14 | 7.2 | 70 | Germany | 2015 | 288 |  |  | Siemens SWT-3.6-120 | Monopile | 21-32 | 70 | EUR 1 billion | null | null | null | null | null | null | null | null | null | null | null | null
Butendiek | 55.0136 | 7.7687 | 33 | Germany | 2015 | 288 |  |  | Siemens SWT-3.6-120 | Monopile | 17-22 | 32 | EUR 1.3 billion | null | null | null | null | null | null | null | null | null | null | null | null
Amrumbank West | 54.5227 | 7.7048 | 32 | Germany | 2015 | 302 |  |  | Siemens SWT-3.6-120 | Monopile | 20-25 | 35 | EUR 1 billion | null | null | null | null | null | null | null | null | null | null | null | null
Borkum Riffgrund 1 | 53.966944 | 6.553889 | 36 | Germany | 2015 | 312 |  |  | Siemens SWT-4.0-120 | Monopile | 23-29 | 37 | EUR 1.25 billion | null | null | null | null | null | null | null | null | null | null | null | null
Trianel Windpark Borkum I | 54.0417 | 6.4667 | 33 | Germany | 2015 | 200 |  |  | AREVA M5000 | Tripod | 25-35 | 45 | EUR 900 million | null | null | null | null | null | null | null | null | null | null | null | null
EnBW Baltic 2 | 54.9733 | 13.1778 | 27 | Germany | 2015 | 288 |  |  | Siemens SWT-3.6-120 | Monopile / Jacket | 23-44 | 32 | EUR 1.25 billion | null | null | null | null | null | null | null | null | null | null | null | null
Global Tech I | 54.5 | 6.3583 | 41 | Germany | 2015 | 400 |  |  | AREVA M5000 | Tripod | 38-41 | 115 | EUR 1.6 billion | null | null | null | null | null | null | null | null | null | null | null | null
Gode Wind 1 | 54.05 | 7.03 | 14 | Germany | 2017 | 332 |  |  | Siemens SWT-6.0-154 | Monopile | 26-35 | 33 | EUR 2.2 billion (combined 1+2) | null | null | null | null | null | null | null | null | null | null | null | null
Gode Wind 2 | 54.05 | 7.03 | 14 | Germany | 2017 | 252 |  |  | Siemens SWT-6.0-154 | Monopile | 26-35 | 33 | EUR 2.2 billion (combined 1+2) | null | null | null | null | null | null | null | null | null | null | null | null
Nordergruende | 53.835 | 8.168 | 6 | Germany | 2017 | 110.7 |  |  | Senvion 6.2M126 | Monopile | 10 | 15 | EUR 410 million | null | null | null | null | null | null | null | null | null | null | null | null
Sandbank | 55.18 | 6.85 | 60 | Germany | 2017 | 288 |  |  | Siemens SWT-4.0-130 | Monopile | 24-33 | 90 | EUR 1.2 billion | null | null | null | null | null | null | null | null | null | null | null | null
Nordsee One | 53.979 | 6.814 | 41 | Germany | 2017 | 332 |  |  | Senvion 6.2M126 | Monopile | 26-29 | 45 | EUR 1.2 billion | null | null | null | null | null | null | null | null | null | null | null | null
Wikinger | 54.8340 | 14.0680 | 34 | Germany | 2018 | 350 |  |  | Adwen AD 5-135 | Jacket | null | 35 | EUR 1.4 billion | null | null | null | null | null | null | null | null | null | null | null | null
Arkona | 54.782 | 14.121 | 39 | Germany | 2019 | 385 |  |  | Siemens Gamesa SWT-6.0-154 | Monopile | null | 35 | EUR 1.2 billion | null | null | null | null | null | null | null | null | null | null | null | null
Borkum Riffgrund 2 | 54.966667 | 6.495556 | 36 | Germany | 2019 | 450 |  |  | MHI Vestas V164-8.0 | Suction Bucket Jacket / Monopile | 27-33 | 54 | EUR 2.3 billion | null | null | null | null | null | null | null | null | null | null | null | null
Merkur | 54.033333 | 6.55 | 44 | Germany | 2019 | 396 |  |  | GE Haliade 150-6MW | Monopile | 27-33 | 45 | EUR 1.6 billion | null | null | null | null | null | null | null | null | null | null | null | null
Deutsche Bucht | 54.305 | 5.799 | 23 | Germany | 2020 | 269 |  |  | MHI Vestas V164-8.4 MW | Monopile | 40 | 100 | EUR 1.4 billion | null | null | null | null | null | null | null | null | null | null | null | null
Trianel Windpark Borkum II | 54.0417 | 6.4667 | 56 | Germany | 2020 | 200 |  |  | Senvion 6.2M152 | Monopile | 27-33 | 45 | EUR 800 million | null | null | null | null | null | null | null | null | null | null | null | null
Kaskasi | 54.485 | 7.45 | 17 | Germany | 2022 | 342 |  |  | Siemens Gamesa SG 8.0-167 DD | Monopile | null | 35 | EUR 800 million | null | null | null | null | null | null | null | null | null | null | null | null
Arcadis Ost 1 | 54.815 | 13.65 | 29 | Germany | 2023 | 257 |  |  | Vestas V174-9.5 MW | Monopile | 41-46 | 19 | EUR 570 million | null | null | null | null | null | null | null | null | null | null | null | null
Baltic Eagle | 54.832 | 13.84 | 40 | Germany | 2024 | 476 |  |  | Vestas V174-9.5 MW | Monopile | 41-45 | 30 | EUR 1.6 billion | null | null | null | null | null | null | null | null | null | null | null | null
Gode Wind 3 | 53.865 | 7.151 | 18 | Germany | 2025 | 253 |  |  | Siemens Gamesa SG 11.0-200 DD | Monopile | null | 32 | EUR 946 million | null | null | null | null | null | null | null | null | null | null | null | null
Borkum Riffgrund 3 | 54.015 | 6.435 | 75 | Germany | 2026 | 913 |  |  | Siemens Gamesa SG 11.0-200 DD | Monopile | 28-34 | 110 | EUR 2.4 billion | null | null | null | null | null | null | null | null | null | null | null | null
EnBW He Dreiht | 54.212 | 6.255 | 63 | Germany | 2026 | 960 |  |  | Vestas V236-15.0 MW | Monopile | 38 | 85-95 | EUR 2.4 billion | null | null | null | null | null | null | null | null | null | null | null | null
Windanker | 54.85 | 13.91 | 18 | Germany | 2026 | 315 |  |  | Siemens Gamesa SG 14-236 DD | Monopile | 41-46 | 38 | EUR 1 billion | null | null | null | null | null | null | null | null | null | null | null | null
Nordseecluster A | 54.12 | 6.85 | 40 | Germany | 2027 | 660 |  |  | Vestas V236-15.0 MW | Monopile | null | 50 | EUR 1.4 billion (combined A+B) | null | null | null | null | null | null | null | null | null | null | null | null
Nordseecluster B | 54.15 | 6.95 | 60 | Germany | 2029 | 900 |  |  | Vestas V236-15.0 MW | Monopile | null | 50 | EUR 1.4 billion (combined A+B) | null | null | null | null | null | null | null | null | null | null | null | null
Nordlicht 1 | 54.21 | 6.12 | 115 | Germany | 2028 | 980 |  |  | Vestas V236-15.0 MW | Monopile | 37-39 | 96 | EUR 5 billion (combined 1+2) | null | null | null | null | null | null | null | null | null | null | null | null
Nordlicht 2 | 54.18 | 6.18 | 50 | Germany | 2028 | 630 |  |  | Vestas V236-15.0 MW | Monopile | null | 85-96 | EUR 5 billion (combined 1+2) | null | null | null | null | null | null | null | null | null | null | null | null
Gennaker | 54.609 | 12.609 | 45 | Germany | 2028 | 976.5 |  |  | Siemens Gamesa SG 14-236 DD | Monopile | null | 15 | EUR 3.1 billion | null | null | null | null | null | null | null | null | null | null | null | null
Vindeby | 54.962 | 11.13 | 5 | Denmark | 1991 | 4.95 |  |  | Bonus B35/450 | Gravity-based | 2-4 | 1.5-3 | EUR 10 million | null | null | null | null | null | null | null | null | null | null | null | 25
Tunoe Knob | 55.967 | 10.354 | 0.8 | Denmark | 1995 | 5 |  |  | Vestas V39 | Gravity-based | 3-6 | 6 | GBP 10 million | null | null | null | null | null | null | null | null | null | null | null | null
Middelgrunden | 55.69 | 12.666 | 1 | Denmark | 2000 | 40 |  |  | Bonus 2MW | Gravity-based | 3-6 | 2 | EUR 48 million | null | null | null | null | null | null | null | null | 0.2527 | null | null | 25
Horns Rev 1 | 55.475 | 7.842 | 21 | Denmark | 2002 | 160 |  |  | Vestas V80-2.0MW | Monopile | 6-14 | 14-20 | DKK 2 billion | null | null | null | null | null | null | null | null | 0.37 | null | null | null
Ronland | 56.657 | 8.218 | 0.5 | Denmark | 2003 | 17.2 |  |  | Vestas V80-2.0MW / Bonus 2.3MW | null | null | 0.1 | EUR 20 million | null | null | null | null | null | null | null | null | 0.443 | null | null | null
Nysted (Rodsand I) | 54.55 | 11.715 | 24 | Denmark | 2003 | 165.6 |  |  | Siemens SWT-2.3-82 | Gravity-based | 6-12 | 10 | DKK 1600 million | null | null | null | null | null | null | null | null | 0.39 | null | null | null
Samso | 55.72 | 10.63 | 5 | Denmark | 2003 | 23 |  |  | Bonus 2.3MW | Monopile | 12 | 3.5 | EUR 57-78.7 million | null | null | null | null | null | null | null | null | null | null | null | 25
Sprogo | 55.341 | 10.952 | 1.2 | Denmark | 2009 | 21 |  |  | Vestas V90-3.0MW | Gravity-based | 6-16 | 10 | DKK 21.4 billion | null | null | null | null | null | null | null | null | null | null | null | null
Horns Rev 2 | 55.6 | 7.585 | 35 | Denmark | 2009 | 209 |  |  | Siemens SWT-2.3-93 | Monopile | 10 | 32 | USD 1 billion | null | null | null | null | null | null | null | null | 0.50 | null | null | null
Avedore Holme | 55.602 | 12.482 | 0.1 | Denmark | 2009 | 10.8 |  |  | Siemens SWT-3.6-120 | null | null | 0 | DKK 2.3 billion | null | null | null | null | null | null | null | null | null | null | null | null
Rodsand II | 54.558 | 11.545 | 34 | Denmark | 2010 | 207 |  |  | Siemens SWT-2.3-93 | Gravity-based | 5-13 | 8.8 | EUR 450 million | null | null | null | null | null | null | null | null | null | null | null | null
Anholt | 56.598 | 11.205 | 88 | Denmark | 2013 | 400 |  |  | Siemens SWP-3.6-120 | Monopile | 15-19 | 15 | DKK 10 billion | null | null | null | null | null | null | null | null | 0.466 | null | null | null
Horns Rev 3 | 55.705 | 7.68 | 88 | Denmark | 2019 | 407 |  |  | MHI Vestas V164-8.3MW | Monopile | 11-19 | 25-30 | GBP 1 billion | null | null | null | null | null | null | null | null | 0.34 | null | null | null
Kriegers Flak | 55.02 | 12.82 | 132 | Denmark | 2021 | 605 |  |  | Siemens Gamesa SG 8.4-167 DD | Monopile | 15-25 | 15-40 | EUR 1.3 billion | null | null | null | null | null | null | null | null | 0.46 | null | null | null
Vesterhav Nord | 56.618 | 8.046 | 15 | Denmark | 2024 | 176 |  |  | Siemens Gamesa SG 8.0-167 DD | Monopile | 20 | 5.5-10 | EUR 769 million (combined N+S) | null | null | null | null | null | null | null | null | 0.52 | null | null | null
Vesterhav Syd | 56.078 | 8.012 | 14 | Denmark | 2024 | 168 |  |  | Siemens Gamesa SG 8.0-167 DD | Monopile | 20 | 5.5-10 | EUR 769 million (combined N+S) | null | null | null | null | null | null | null | null | 0.52 | null | null | null
Thor | 56.33 | 7.68 | 286 | Denmark | 2027 | 1080 |  |  | Siemens Gamesa SG 14-236 DD | Monopile | 27 | 22 | DKK 15.5 billion | null | null | null | null | null | null | null | null | null | null | null | null
Aflandshage | 55.45 | 12.43 | 42 | Denmark | 2026 | 286 |  |  | Siemens Gamesa 11MW | null | null | 8 | USD 1 billion | null | null | null | null | null | null | null | null | null | null | null | null
Hesselo | 56.31 | 11.75 | 247 | Denmark | 2029 | 1000-1200 |  |  | null | null | null | 30 | EUR 7.4 billion | null | null | null | null | null | null | null | null | null | null | null | null
Bornholm Energy Island | 54.7 | 14.65 | 250 | Denmark | 2030 | 3000 |  |  | null | null | null | 15 | EUR 9 billion | null | null | null | null | null | null | null | null | null | null | null | null
Bockstigen | 57.036 | 18.15 | 0.5 | Sweden | 1998 | 2.75 |  |  | Wind World 550kW | Monopile | 6 | 4 | EUR 4-5 million | null | null | null | null | null | null | null | null | null | null | null | null
Utgrunden I | 56.37 | 16.27 | 1 | Sweden | 2000 | 10.5 |  |  | Enron Wind 1.5MW | Monopile | 7-10 | 8 | EUR 17.85 million | null | null | null | null | null | null | null | null | null | null | null | null
Lillgrund | 55.51 | 12.78 | 10 | Sweden | 2007 | 110 |  |  | Siemens SWT-2.3-93 | Gravity-based | 4-8 | 7 | SEK 1.8 billion | null | null | null | null | null | null | null | null | 0.34 | null | null | null
Karehamn | 56.96 | 16.98 | 7 | Sweden | 2013 | 48 |  |  | Vestas V112-3.0MW | Gravity-based | 20.5 | 7 | EUR 120 million | null | null | null | null | null | null | null | null | 0.47 | null | null | null
Hywind Scotland | 57.48 | -1.35 | 15 | Norway | 2017 | 30 |  |  | Siemens SWT-6.0-154 | Floating spar buoy | 95-120 | 29 | GBP 264 million | null | null | null | null | null | null | null | null | 0.54 | null | null | null
Hywind Tampen | 61.33 | 2,7 | 5 | Norway | 2023 | 88 |  |  | Siemens Gamesa SG 8.0-167 DD | Floating concrete spar buoy | 260-300 | 140 | NOK 7.4 billion | null | null | null | null | null | null | null | null | 0.584 | null | null | null
Utsira Nord | 59.2 | 4,5 | 1000 | Norway | null | 1500 |  |  | null | Floating | null | 30 | EUR 2.95 billion | null | null | null | null | null | null | null | null | null | null | null | null
Sorlige Nordsjo II | 56.817 | 5,25 |  | Norway | null | 3000 |  |  | null | null | null | 140-214 | EUR 3.4 billion | null | null | null | null | null | null | null | null | null | null | null | null
Tahkoluoto | 61.36 | 21,26 |  | Finland | 2017 | 42 |  |  | Siemens SWT-4.0-130 | Gravity-based | 8-15 | 14 | EUR 120-140 million | null | null | null | null | null | null | null | null | 0.43 | null | null | null
Korsnas | 62.93 | 21,18 |  | Finland | 2034 | 2500 |  |  | null | null | null | 15 | EUR 2-3 billion | null | null | null | null | null | null | null | null | null | null | null | null
Egmond aan Zee (OWEZ) | 52.5894 | 4,41 | 14 | Netherlands | 2007 | 108 |  |  | Vestas V90-3.0MW | Monopile | 12-20 | 10-18 | EUR 200 million | null | null | null | null | null | null | null | null | null | null | null | 20
Prinses Amalia | 52.5894 | 4.2064 | 14 | Netherlands | 2008 | 120 |  |  | Vestas V80-2.0MW | Monopile | 19-24 | 23 | EUR 383 million | null | null | null | null | null | null | null | null | null | null | null | 20
Luchterduinen | 52.4167 | 4,17 | 25 | Netherlands | 2015 | 129 |  |  | Vestas V112-3.0MW | Monopile | 18-24 | 23 | EUR 450 million | null | null | null | null | null | null | null | null | null | null | null | null
Gemini | 54.0333 | 6,02 | 68 | Netherlands | 2017 | 600 |  |  | Siemens SWT-4.0-130 | Monopile | 28-36 | 85 | EUR 2.8 billion | null | null | null | null | null | null | null | null | null | null | null | null
Borssele I and II | 51.745 | 3,06 | 128 | Netherlands | 2020 | 752 |  |  | Siemens Gamesa SG 8.0-167 DD | Monopile | 14-40 | 23 | EUR 1.5 billion | null | null | null | null | null | null | null | null | null | null | null | null
Borssele III and IV | 51.705 | 2,98 | 122 | Netherlands | 2021 | 731.5 |  |  | MHI Vestas V164-9.5MW | Monopile | 16-38 | 22 | EUR 1.3 billion | null | null | null | null | null | null | null | null | null | null | null | null
Borssele V | 51.71 | 3,00 |  | Netherlands | 2021 | 19 |  |  | MHI Vestas V164-9.5MW | Monopile | null | 20 | EUR 50 million | null | null | null | null | null | null | null | null | null | null | null | null
Hollandse Kust Zuid I-IV | 52.3667 | 4,07 | 225 | Netherlands | 2023 | 1529 |  |  | Siemens Gamesa SG 11.0-200 DD | Monopile | 17-28 | 18-36 | EUR 3.2 billion | null | null | null | null | null | null | null | null | null | null | null | null
Hollandse Kust Noord | 52.6539 | 4,25 | 125 | Netherlands | 2023 | 759 |  |  | Siemens Gamesa SG 11.0-200 DD | Monopile | 18-24 | 18.5 | EUR 1.4 billion | null | null | null | null | null | null | null | null | null | null | null | null
Hollandse Kust West VI | 52.6833 | 3,77 | 90 | Netherlands | 2026 | 760 |  |  | Vestas V236-15.0MW | Monopile | null | 53 | EUR 1.5-1.8 billion | null | null | null | null | null | null | null | null | null | null | null | null
Hollandse Kust West VII | 52.617 | 3,77 |  | Netherlands | 2028 | 795 |  |  | Vestas V236-15.0MW | Monopile | null | 53 | EUR 2.5-3 billion | null | null | null | null | null | null | null | null | null | null | null | null
IJmuiden Ver Alpha | 52.8 | 3,50 |  | Netherlands | 2029 | 2000 |  |  | null | null | null | 62 | EUR 4-4.5 billion | null | null | null | null | null | null | null | null | null | null | null | null
IJmuiden Ver Beta | 52.9 | 3,80 |  | Netherlands | 2029 | 2000 |  |  | null | null | null | 62 | EUR 4.5-5 billion | null | null | null | null | null | null | null | null | null | null | null | null
IJmuiden Ver Gamma-A | 53.883 | 3,50 |  | Netherlands | null | 1000 |  |  | null | null | null | 62 | EUR 3.978 bullion | null | null | null | null | null | null | null | null | null | null | null | null
IJmuiden Ver Gamma-B | 53.125 | 3,44 |  | Netherlands | null | 1000 |  |  | null | null | null | 62 | EUR 3.920 billion | null | null | null | null | null | null | null | null | null | null | null | null
Nederwiek I-A | 53.085 | 3,44 |  | Netherlands | null | 1000 |  |  | null | null | null | 95 | null | null | null | null | null | null | null | null | null | null | null | null | null
Nederwiek I-B | 52.955 | 3,78 |  | Netherlands | null | 1000 |  |  | null | null | null | 100-120 | null | null | null | null | null | null | null | null | null | null | null | null | null
Ten noorden van de Waddeneilanden I | 53.883 | 4,46 |  | Netherlands | 2033 | 700 |  |  | null | null | null | 56 | EUR 1.5-2.2 billion | null | null | null | null | null | null | null | null | null | null | null | null
Doordewind I | 54.2472 | 4,11 |  | Netherlands | 2032 | 2000 |  |  | null | null | null | 77-102 | null | null | null | null | null | null | null | null | null | null | null | null | null
Doordewind II | 54.2472 | 4,11 |  | Netherlands | null | 2000 |  |  | null | null | null | 77 | null | null | null | null | null | null | null | null | null | null | null | null | null
C-Power | 51.5517 | 2,97 | 18 | Belgium | 2013 | 325 |  |  | Senvion 5M / Senvion 6.15M | Gravity-based / Jacket | 12-27 | 30 | EUR 1.3 billion | null | null | null | null | null | null | null | null | null | null | null | null
Belwind | 51.67 | 2,80 | 35 | Belgium | 2010 | 171 |  |  | Vestas V90-3.0MW / Alstom Haliade 150-6MW | Monopile | 25-30 | 46 | EUR 614 million | null | null | null | null | null | null | null | null | null | null | null | null
Northwind | 51.619 | 2,90 | 14 | Belgium | 2014 | 216 |  |  | Vestas V112-3.0MW | Monopile | 16-29 | 37 | EUR 883 million | null | null | null | null | null | null | null | null | null | null | null | null
Nobelwind | 51.6633 | 2,83 | 20 | Belgium | 2017 | 165 |  |  | MHI Vestas V112-3.3MW | Monopile | 26-38 | 47 | EUR 655 million | null | null | null | null | null | null | null | null | null | null | null | null
Rentel | 51.5911 | 2,94 | 23 | Belgium | 2018 | 309 |  |  | Siemens SWT-7.0-154 | Monopile | 22-36 | 34 | EUR 1.1 billion | null | null | null | null | null | null | null | null | null | null | null | null
Norther | 51.5281 | 3,02 | 44 | Belgium | 2019 | 370 |  |  | MHI Vestas V164-8.4MW | Monopile | 33 | 23 | EUR 1.2 billion | null | null | null | null | null | null | null | null | 0.431 | null | null | null
Northwester 2 | 51.6875 | 2,76 | 12 | Belgium | 2020 | 219 |  |  | MHI Vestas V164-9.5MW | Monopile | 40 | 52 | EUR 700 million | null | null | null | null | null | null | null | null | null | null | null | 25
SeaMade | 51.721 | 2,79 |  | Belgium | 2020 | 487 |  |  | Siemens Gamesa SG 8.0-167 DD | Monopile | 38-40 | 40-54 | EUR 1.3 billion | null | null | null | null | null | null | null | null | null | null | null | null
Princess Elisabeth Zone Lot 1 | 51.62 | 2,49 |  | Belgium | 2029 | 700 |  |  | null | null | null | 45 | EUR 2.5 billion | null | null | null | null | null | null | null | null | null | null | null | null
Princess Elisabeth Zone Lot 2 | 51.46 | 2,47 |  | Belgium | null | 1225-1400 |  |  | null | null | null | 45 | EUR 2 billion | null | null | null | null | null | null | null | null | null | null | null | null
Princess Elisabeth Zone Lot 3 | 51.43 | 2,40 |  | Belgium | null | 1225-1400 |  |  | null | null | null | 45 | EUR 3.75-4 billion | null | null | null | null | null | null | null | null | null | null | null | null
Saint-Nazaire | 47.13 | -2,78 | 78 | France | 2022 | 480 |  |  | GE Haliade 150-6MW | Monopile | 12-25 | 12-20 | EUR 2 billion | null | null | null | null | null | null | null | null | null | null | null | null
Saint-Brieuc | 48.72 | -2,76 | 75 | France | 2024 | 496 |  |  | Siemens Gamesa SG 8.0-167 DD | Jacket | 30 | 16.3 | EUR 2.4 billion | null | null | null | null | null | null | null | null | null | null | null | null
Fecamp | 49.85 | 0,18 | 60 | France | 2024 | 497 |  |  | Siemens Gamesa SWT-7.0-154 | Gravity-based | 25-30 | 13-24 | EUR 2 billion | null | null | null | null | null | null | null | null | null | null | null | null
Courseulles-sur-Mer | 49.45 | -0,51 | 50 | France | 2027 | 448 |  |  | Siemens Gamesa SWT-7.0-154 | Monopile | 22-31 | 16 | EUR 2 billion | null | null | null | null | null | null | null | null | null | null | null | null
Dieppe-Le Treport | 50.12 | 1,3 |  | France | 2027 | 500 |  |  | Siemens Gamesa SG 8.0 MW | Jacket | 14-25 | 15.5 | EUR 2.7 billion | null | null | null | null | null | null | null | null | null | null | null | null
Yeu-Noirmoutier | 46.95 | -2,47 |  | France | 2025 | 496 |  |  | Siemens Gamesa SG 8.0 MW | Monopile | 19-36 | 11.7 | EUR 2-2.5 billion | null | null | null | null | null | null | null | null | null | null | null | 22.5
Dunkirk | 51.12 | 2,1 |  | France | 2028 | 600 |  |  | null | Monopile | 30 | 10 | EUR 1.4 billion | null | null | null | null | null | null | null | null | null | null | null | null
Provence Grand Large | 43.33 | 5,1 |  | France | 2025 | 25 |  |  | Siemens Gamesa SG 8.0 MW | Floating TLP | 70-100 | 17 | EUR 300 million | null | null | null | null | null | null | null | null | null | null | null | null
EolMed | 42.85 | 3,2 |  | France | 2025 | 30 |  |  | Vestas V164-10.0 MW | Floating damping pool | 60 | 15-18 | EUR 212 million | null | null | null | null | null | null | null | null | null | null | null | null
EFGL | 42.95 | 3,25 |  | France | 2025 | 30 |  |  | Vestas V164-10.0 MW | Floating semi-submersible | 65-80 | 16 | EUR 300 million | null | null | null | null | null | null | null | null | null | null | null | null
Centre Manche 1 | 49.6 | -1,3 |  | France | 2030 | 1000 |  |  | null | null | null | 32 | EUR 2 billion | null | null | null | null | null | null | null | null | null | null | null | null
Centre Manche 2 | 49.55 | -1,25 |  | France | 2033 | 1500 |  |  | null | null | null | 40 | EUR 4.5 billion | null | null | null | null | null | null | null | null | null | null | null | null
Sud-Atlantique I | 45.9 | -1,6 |  | France | 2032 | 1000 |  |  | null | null | null | 40 | null | null | null | null | null | null | null | null | null | null | null | null | null
Arklow Bank Phase 1 | 52.79 | -5,95 |  | Ireland | 2004 | 25.2 |  |  | GE 3.6 MW | Monopile | null | 10 | EUR 50-60 million | null | null | null | null | null | null | null | null | null | null | null | null
Arklow Bank Phase 2 | 52.8 | -5,9 |  | Ireland | 2029 | 800 |  |  | null | Monopile | null | 10 | EUR 2.5 billion | null | null | null | null | null | null | null | null | null | null | null | null
Codling Wind Park | 53.1 | -5,7 |  | Ireland | 2030 | 1300 |  |  | null | null | null | 13-22 | EUR 2-2.5 billion | null | null | null | null | null | null | null | null | null | null | null | 25
Dublin Array | 53.2 | -5,72 |  | Ireland | 2030 | 824 |  |  | null | null | null | 10 | EUR 2 billion | null | null | null | null | null | null | null | null | null | null | null | null
Oriel | 54 | -5,9 |  | Ireland | 2028 | 375 |  |  | null | null | 20 | 6 | USD 990.801 million | null | null | null | null | null | null | null | null | null | null | null | null
North Celtic Sea | 51.7 | -7,5 |  | Ireland | 2030 | 600-900 |  |  | null | null | null | 10-25 | EUR 2-2.5 billion | null | null | null | null | null | null | null | null | null | null | null | null
Celtic Sea Array | 51.6 | -7,6 |  | Ireland | 2030 | 1200 |  |  | null | null | null | 25 | null | null | null | null | null | null | null | null | null | null | null | null | null
Baltic Power | 55.1 | 17,5 | 130 | Poland | 2026 | 1140 |  |  | Vestas V236-15.0 MW | Monopile | 40 | 23 | PLN 10 billion | null | null | null | null | null | null | null | null | null | null | null | null
Baltica 2 | 55.15 | 17,3 |  | Poland | 2027 | 1498 |  |  | Siemens Gamesa SG 14-222 DD | Monopile | 25-40 | 40 | PLN 30 billion (combined 2+3) | null | null | null | null | null | null | null | null | null | null | null | null
Baltica 3 | 55.2 | 17,4 |  | Poland | 2029 | 1036 |  |  | null | Monopile | null | 34 | PLN 30 billion (combined 2+3) | null | null | null | null | null | null | null | null | null | null | null | null
Baltica 1 | 55.05 | 17,45 |  | Poland | null | 900 |  |  | null | null | null | 80 | null | null | null | null | null | null | null | null | null | null | null | null | null
MFW Baltyk II | 55.08 | 16,9 |  | Poland | 2028 | 720 |  |  | Siemens Gamesa SG 14-236 DD | Monopile | 25-40 | 37 | PLN 27 billion (combined II+III) | null | null | null | null | null | null | null | null | null | null | null | null
MFW Baltyk III | 55.12 | 16,85 |  | Poland | 2028 | 720 |  |  | Siemens Gamesa SG 14-236 DD | Monopile | 25-40 | 22 | PLN 27 billion (combined II+III) | null | null | null | null | null | null | null | null | null | null | null | null
MFW Baltyk I | 55.03 | 16,95 |  | Poland | null | 1560 |  |  | null | null | null | 85 | null | null | null | null | null | null | null | null | null | null | null | null | null
F.E.W. Baltic II | 55.25 | 17,1 |  | Poland | 2026 | 350 |  |  | Siemens Gamesa SG 14-236 DD | Monopile | 30-50 | 55 | null | null | null | null | null | null | null | null | null | null | null | null | null
BC-Wind | 55.18 | 17,2 |  | Poland | 2028 | 390 |  |  | 14 MW class | null | null | 23 | EUR 2 billion | null | null | null | null | null | null | null | null | null | null | null | null
WindFloat Atlantic | 41.68 | -9 |  | Portugal | 2020 | 25 |  |  | Vestas V164-8.4 MW | Floating semi-submersible | 100 | 20 | EUR 125 million | null | null | null | null | null | null | null | null | null | null | null | null
DemoSATH | 43.36 | -2,88 |  | Spain | 2022 | 2 |  |  | 2 MW turbine | Floating SATH | 85 | 3.7 | EUR 30-40 million | null | null | null | null | null | null | null | null | null | null | null | null
Granadilla Offshore | 28.08 | -16,53 |  | Spain | null | 240 |  |  | null | Floating | null | 2 | null | null | null | null | null | null | null | null | null | null | null | null | null
Beleolico | 40.47 | 18,5 |  | Italy | 2022 | 30 |  |  | MingYang MySE3.0-135 | Monopile | 4-18 | 3 | EUR 80 million | null | null | null | null | null | null | null | null | null | null | null | 25
7 Seas Med | 37.2 | 12,5 |  | Italy | null | 250 |  |  | 10 MW class | Floating TetraSpar | 200-350 | 35 | EUR 741 million | null | null | null | null | null | null | null | null | null | null | null | null
Med Wind | 37.1 | 12,3 |  | Italy | null | 2800 |  |  | MingYang 18.8 MW | Floating | null | 80 | EUR 9.3 billion | null | null | null | null | null | null | null | null | null | null | null | null
Ichnusa Wind Power | 39.5 | 8,3 |  | Italy | 2027 | 504 |  |  | 12 MW class | Floating semi-submersible | null | 40 | USD 1.71 billion | null | null | null | null | null | null | null | null | null | null | null | null
Alexandroupolis | 40.85 | 25,9 |  | Greece | 2030 | 400 |  |  | null | null | null | 10-15 | null | null | null | null | null | null | null | null | null | null | null | null | null